## 2024_Town_Dam_Month-to-Date_Wat
Form Completed By: | Date and Time of Check-In | Type of Check-In | Hwy 557 Ruler | Dam Ruler (N/A when Logs Out) | Is Water Level In Compliance | Which Ruler is in Compliance? | Weather (temperature in celsius) | WATER TEMPERATURE if required | Water Management Plan Period | Bay 1: TURBINES | Bay 2: 6 Logs Maximum | Bay 3: 8 Logs Maximum | Bay 4: 10 Logs Maximum | Bay 5: MECH GATE MAX 9 Logs | Bay 1 After change: TURBINES | Bay 2 After change: 6 Logs Maximum | Bay 3 after change: 8 Logs Maximum | Bay 4 after change: 10 Logs Maximum | Bay 5 after change: MECH GATE MAX 9 Logs | OOC Comment | Dam Ruler After Log Changes
Greg | 2024-10-16 10:36 | RULER only 557 bridge | 55 |  | NO |  | 8 sunny |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Low water levels upstream ( Matinenda) no rainfall, leakage at town dam being investigated by MNR to help hold water levels.
Greg | 2024-10-16 09:59 | ONSITE both Headpond & Powerhouse |  | 54 | NO |  | 6 sunny |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | No rain,low water level upstream ( Matinenda), MNR is investigating the leakage at town dam to help hold levels.
Matt | 2024-10-15 13:39 | ONSITE both Headpond & Powerhouse |  | 57 | NO |  | 11c |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Lack of rain/Leakage.
Zoran | 2024-10-15 10:09 | RULER only 557 bridge | 0.56 |  | NO |  | 6 |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Under compliance. Holding as much as possible, with mechanical gate leakage and the lack of rain.
Colin | 2024-10-14 08:13 | RULER only 557 bridge | 56 |  | NO |  | 5 |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Holding best we can wth mechanical gate leakage and lack of rain
Colin | 2024-10-13 08:47 | RULER only 557 bridge | 57 |  | NO |  | 6 |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Holding best we can do to mechanical gate leakage and lack of rain
Colin | 2024-10-12 08:20 | RULER only 557 bridge | 56.5 |  | NO |  | 1 |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Holding best we can do to mechanical gate leakage and lack of rain
Zoran | 2024-10-11 13:59 | ONSITE both Headpond & Powerhouse |  | 56 | NO |  | 15 |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Under compliance. Water slow coming from upstream, unusually dry October.
Zoran | 2024-10-11 09:31 | RULER only 557 bridge | 0.57 |  | NO |  | 12 |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Under compliance. Lack of rain, not enough water coming from upstream.
Zoran | 2024-10-10 13:22 | ONSITE both Headpond & Powerhouse |  | 0.56 | NO |  | 15 |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Under compliance. Small leak under the mechanical gate and no water coming from upstream (lack of rain).
Zoran | 2024-10-10 09:23 | RULER only 557 bridge | 57 |  | NO |  | 3 |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Under compliance. Not enough water coming from upstream due to lack of rain. The leakage under mechanical gate at the town dam is being looked at by MNR.
Zoran | 2024-10-09 13:38 | ONSITE both Headpond & Powerhouse |  | 0.58 | NO |  | 13 |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Under compliance. Leak at the mechanical gate is being checked by MNR.
Zoran | 2024-10-09 09:29 | RULER only 557 bridge | 0.57 |  | NO |  | 8 |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Under compliance . The leak at the mechanical gate will be looked at by MNR.
Colin | 2024-10-08 13:10 | ONSITE both Headpond & Powerhouse |  | 58 | NO |  | 16 |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Holding best we can do to mechanical gate leakage and lack of rain
Colin | 2024-10-08 09:22 | RULER only 557 bridge | 57 |  | NO |  | 9 |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Holding best we can do to leak in mechanical gate and lack of rain
Colin | 2024-10-07 14:34 | ONSITE both Headpond & Powerhouse |  | 58 | NO |  | 17 |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Holding the best we can do to mechanical gate leakage and lack of rain
Colin | 2024-10-07 09:25 | RULER only 557 bridge | 57 |  | NO |  | 10 |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Holding best we can do to leak in mechanical gate and lack of rain
Zoran | 2024-10-06 14:09 | RULER only 557 bridge | 0.58 |  | NO |  | 17 |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Under compliance. Water coming down from upstream after this weekend rain.
Zoran | 2024-10-05 10:33 | RULER only 557 bridge | 0.59 |  | NO |  | 14 |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Under compliance. Expecting rain over the weekend to raise the level.
Greg | 2024-10-04 15:22 | ONSITE both Headpond & Powerhouse |  | 50 | NO |  | 18 breezy |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Water is on its way and lots of precipitation in near forecast
Greg | 2024-10-04 12:36 | RULER only 557 bridge | 59 |  | NO |  | 20 sunny |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Low water level upstream ( matinenda) rain in the forecast should help water level
Greg | 2024-10-03 15:04 | ONSITE both Headpond & Powerhouse |  | 59 | NO |  | 22 overcast |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Low water levels upstream ( Matinenda) so will continue to hold, water is on its way.
Greg | 2024-10-03 14:22 | ONSITE both Headpond & Powerhouse |  | 59 | NO |  | 20 sunny and breezy |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Everything is closed up top due to low water levels at ( Matinenda). Rain in the forecast should help levels.
Greg | 2024-10-03 09:15 | RULER only 557 bridge | 59 |  | NO |  | 15 sunny |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED | [5 empty] | Low water level upstream ( Matinenda) hoping rainfall in the forecast will bring level up.
Greg | 2024-10-02 14:10 | ONSITE both Headpond & Powerhouse |  | 59 | YES | 557 ruler | 16 breezy |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Greg | 2024-10-02 09:31 | RULER only 557 bridge | 60 |  | YES | 557 ruler | 14 sunny |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Greg | 2024-10-01 14:28 | ONSITE both Headpond & Powerhouse |  | 59.5 | YES | 557 ruler | 15 overcast |  | Oct. 1 to Nov. 30 | NO LOGS OUT = Both Off | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED
Greg | 2024-10-01 09:55 | RULER only 557 bridge | 60 |  | YES | 557 ruler | 18 overcast |  | Oct. 1 to Nov. 30 |  | 1 Log Out | 1 Log Out | 1 Log Out | NO LOGS OUT - GATE CLOSED